|  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **TOOLS & EQUIPMENT INFORMATION** | | | | **INSPECTION DATE AND STATUS** | | | | | | | | |
| **ID** | **DESCRIPTION** | **MODEL** | **SERIAL NUMBER** | **CARRIED OUT**  *(date)* | **INTERVAL**  (*D-Day, M-Month, Y-Year)* | | **SERVICEABLE STATUS**  *(Yes/No)* | **NEXT DUE**  *(date)* | **REMAINING**  *(D-Day, M-Month, Y-Year)* | | **REMARKS** |
| **CTE 01** | TORQUE WRENCH 1/4 DR 10-50 IN (606A) | PROTO | 041-760-2941 | 23/08/2017 | 1 | Y | YES | 07/06/2019 |  |  |  |
| **CTE 02** | TORQUE WRENCH 1/4 DR 10-50 IN/LB (606A) | PROTO | 031-750-4349 | 22/06/2018 | 1 | Y | YES | 22/06/2019 |  |  |  |
| **CTE 03** | TORQUE WRENCH 3/8 DR 40-200 IN/LB (J6064C) | PROTO | DSA-073-360-317 | 23/08/2017 | 1 | Y | YES | 07/06/2019 |  |  |  |
| **CTE 04** | TORQUE WRENCH 3/8 DR 40-200 IN/LB (J6064C) | PROTO | DSA-069-050-317 | 22/06/2018 | 1 | Y | YES | 22/06/2019 |  |  |  |
| **CTE 05** | TORQUE WRENCH 3/8 DR 100 – 1000 IN/LB (6066C) | PROTO | DSA-075-950-417 | 23/08/2017 | 1 | Y | YES | 07/06/2019 |  |  |  |
| **CTE 06** | TORQUE WRENCH 3/8 DR 100 – 1000 IN/LB (6066C) | PROTO | DRH-411-86 | 22/06/2018 | 1 | Y | YES | 22/06/2019 |  |  |  |
| **CTE 07** | (RESERVED) | RESERVED |  |  |  |  |  |  |  |  |  |
| **CTE 08** | (RESERVED) | RESERVED |  |  |  |  |  |  |  |  |  |
| **CTE 09** | DIGITAL CALIPER 0-200MM/0-8” (1108-200) | INSIZE | 230-617-1366 | 23/08/2017 | 1 | Y | YES | 07/06/2019 |  |  |  |
| **CTE 10** | DIGITAL CALIPER 0-200MM/0-8” (1108-200) | INSIZE | 140-617-2082 | 28/03/2018 | 1 | Y | YES | 28/03/2019 |  |  |  |
| **CTE 11** | METRIC DIAL INDICATOR 0-10MM (2308-10FA) | INSIZE | 680-0690 | 23/08/2017 | 1 | Y | YES | 07/06/2019 |  |  |  |
| **CTE 12** | DIGITAL INDICATOR RANGE : 12.7MM/0.5” | INSIZE | 220-617-0150 | 28/03/2018 | 1 | Y | YES | 28/03/2019 |  |  |  |
| **CTE 13** | ELECTRONIC WEIGHING SCALE 15KG – 2g DIVISION | OXFORD | OXD-844-2220K | 25/08/2017 | 1 | Y | YES | 25/08/2018 |  |  | WAITING FOR CALIBRATE |
| **CTE 14** | SAURA HANDBEARING COMPASS HB-65G II | SAURA | SHB 0001 | 05/10/2017 | 1 | Y | YES | 05/10/2018 |  |  | WAITING FOR CALIBRATE |
| **CTE 15** | AVIONIC TESTER AV-15 | SUN AVIONICS | A-00405 | 15/06/2017 | 1 | Y | YES | 25/09/2019 |  |  |  |
| **CTE 16** | DIGITAL MULTIMETER | SANWA | 15115011061 | 10/11/2017 | 1 | Y | YES | 9/8/2019 |  |  |  |

***(Please “X” where applicable)***

**d ISSUED BY: VERIFIED BY: ENGINEERING MANAGER / CHIEF ENGINEER**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **NAME** | **MUHAMAD DARMA WULAN MUKARRAMAH** |  | **NAME** | **SYAFRUL YAMANI BIN SAFRUDDIN** |
| **DATE** | 10/11/2018 | **DATE** | 10/11/2018 |
| **SIGNATURE & STAMP** |  | **SIGNATURE & STAMP** |  |

|  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **TOOLS & EQUIPMENT INFORMATION** | | | | **INSPECTION DATE AND STATUS** | | | | | | | |
| **ID** | **DESCRIPTION** | **MODEL** | **SERIAL NUMBER** | **CARRIED OUT**  *(date)* | **INTERVAL**  (*D-Day, M-Month, Y-Year)* | | **SERVICEABLE STATUS**  *(Yes/No)* | **NEXT DUE**  *(date)* | **REMAINING**  *(D-Day, M-Month, Y-Year)* | | **REMARKS** |
| **CTE 17** | MANIFOLD-P-2V”I” GAUGE,C/W 5FT STD HOSE | N/A | N/A | 02/11/2017 | 1 | Y | YES | 08/07/2019 |  |  |  |
| **CTE 18** | INSULATION MULTIMETER | FLUKE | 41020095 | 02/01/2018 | 1 | Y | YES | 07/06/2019 |  |  |  |
| **CTE 19** | ULB TEST SET | DUKANE SEACOM | SR0377 | 11/02/2018 | 1 | Y | YES | 02/02/2019 |  |  |  |
| **CTE 20** | TYRE PRESSURE GAUGE 0-300 PSI | N/A | T-29763 | 20/12/2017 | 1 | Y | YES | 20/12/2018 |  |  |  |
| **CTE/21A** |  |  | 25702886 |  | 1 | Y | YES | 13/03/2019 |  | D |  |
| **CTE/21B** | WEIGHING SCALE | INTERCOMP | 25702887 | 13/03/2018 | 1 | Y | YES | 13/3/2019 | 245 | D | G00068 |
| **CTE/21C** |  |  | 25702888 |  | 1 | Y | YES |  |  | D |  |
| **CTE/22** | PRESSURE REGULATOR | LEVAN | N/A | 27/03/2018 | 1 | Y | YES | 27/03/2019 | 259 | D |  |
| **CTE/23** | TYRE PRESSURE GAUGE | ATS | N/A | 12/07/2018 | 1 | Y | YES | 12/07/2019 |  |  |  |
| **CTE/24** | INSULATION MULTIMETER | FLUKE | 41020095 | 02/01/2018 | 1 | Y | YES | 02/01/2019 |  |  |  |
| **CTE/25** | TYRE PRESSURE GAUGE | DART AEROSPACE | N/A | 12/07/2018 | 1 | Y | YES | 12/7/2019 |  |  |  |
| **CTE/26** | MULTIMETER | FLUKE | 42050113 | 1/9/2018 | 1 | Y | YES | 1/9/2019 |  |  |  |
| **CTE/27** | INSULATION MULTIMETER | FLUKE | 41450011 | 1/9/2018 | 1 | Y | YES | 1/9/2019 |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |

***(Please “X” where applicable)***

**d ISSUED BY: VERIFIED BY: ENGINEERING MANAGER / CHIEF ENGINEER**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **NAME** | **MUHAMAD DARMA WULAN MUKARRAMAH** |  | **NAME** | **SYAFRUL YAMANI BIN SAFRUDDIN** |
| **DATE** | 10/11/2018 | **DATE** | 10/11/2018 |
| **SIGNATURE & STAMP** |  | **SIGNATURE & STAMP** |  |