|  | Tools Information |  |  |  | Inspection Date and Status, Serviceable Y = Yes, N = No. |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ID | Description | Model | Part Number | Serial Number | Carried out (date) | Interval (D-Day, M-Month, Y-Year) |  | Serviceable Status (Yes/No) | Next Due. (date) | Remaining (D-Day, M-Month, Y-Year) |  | Location |
| CTE/41 | TORQUE SCREW DRIVER 3-15INLB | CROMWELL | CDI151SM | 0319900057 | 13/7/2023 | 12 | M | NO | 13/7/2024 | -221 | D | AVIONIC WORKSHOP |
| CTE/60 | BC-9000 BATTERY CHARGER | CONCORDE | 4169 | 00000328 | 29/7/2024 | 12 | M | YES | 29/7/2025 | 159 | D | AVIONIC WORKSHOP |
| CTE/61 | BC-8000 BATTERY CAPACITY/TESTER/CHARGER/DC POWER SUPP | CONCORDE | 4168 | 1063 | 14/12/2023 | 12 | M | NO | 14/12/2024 | -68 | D | AVIONIC WORKSHOP |
| CTE/64 | INSULATED PRESET TORQUE WRENCH (SHORT) 30 lbf.in | GEDORE | TBN 50V | 1JT000675 | 14/6/2024 | 12 | M | YES | 14/6/2025 | 114 | D | AVIONIC WORKSHOP |
| CTE/65 | INSULATED PRESET TORQUE WRENCH (LONG) 115 lbf. in | GEDORE | TSN25 | 1JT000510 | 14/6/2024 | 12 | M | YES | 14/6/2025 | 114 | D | AVIONIC WORKSHOP |
| CTE/66 C | UNI-T INFRARED THERMOMETERS | LOCAL VENDOR | UT300S | N/A | 16/4/2024 | 12 | M | YES | 16/4/2025 | 55 | D | AVIONIC WORKSHOP |
| CTE/67 | THERMOHYGROMETER | LOCAL VENDOR | HTC-1 | 8154-21 | 27/4/2023 | 12 | M | NO | 27/4/2024 | -299 | D | AVIONIC WORKSHOP |
| CTE/68 | THERMOHYGROMETER | LOCAL VENDOR | HTC-1 | N/A | 29/03/2023 | 12 | M | NO | 29/3/2024 | -328 | D | AVIONIC WORKSHOP |
| CTE/69 | THERMOHYGROMETER | LOCAL VENDOR | HTC-1 | N/A | 3/5/2023 | 12 | M | NO | 3/5/2024 | -293 | D | AVIONIC WORKSHOP |
| CTE/70 | THERMOHYGROMETER | LOCAL VENDOR | HTC-1 | N/A | 7/7/2023 | 12 | M | NO | 7/7/2024 | -228 | D | AVIONIC WORKSHOP |
| CTE/71 | BC-7000 BATTERY CHARGER | COFKO LLC | 4167 | 00000213 | 13/2/2024 | 12 | M | NO | 13/2/2025 | -7 | D | AVIONIC WORKSHOP |
| CTE/72 | CHARGER:COMBO,SUITCASE | AVIALL | 4159-CML | 80Q11904 | 17/8/2023 | 12 | M | NO | 17/8/2024 | -187 | D | AVIONIC WORKSHOP |

|  | Tools Information |  |  |  | Inspection Date and Status, Serviceable Y = Yes, N = No. |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ID | Description | Model | Part Number | Serial Number | Carried out (date) | Interval (D-Day, M-Month, Y-Year) |  | Serviceable Status (Yes/No) | Next Due. (date) | Remaining (D-Day, M-Month, Y-Year) |  | Location |
| CTE/74 | INSULATION MULTIMETER | FLUKE | 1587 | 45330115 | 16/04/2024 | 12 | M | YES | 16/4/2025 | 54 | D | AVIONIC WORKSHOP |
| CTE/80 | INSULATED TORQUE WRENCH, 1/4" DR 10-50 IN-LBS | CEMENTEX | 1050TW141 | 0918912697 | 28/8/2024 | 12 | M | YES | 28/8/2025 | 188 | D | AVIONIC WORKSHOP |
| CTE/81 | INSULATED TORQUE WRENCH, 1/4" DR 30-150 IN-LBS | CEMENTEX | 30150TW141 | 19083696 | 7/10/2024 | 12 | M | YES | 7/10/2025 | 228 | D | AVIONIC WORKSHOP |
| CTE/107 | TRUE RMS AUTO RANGE MULTIMETER | PRO'S KIT | MT-1710 | 097452932 | 17/10/2023 | 12 | M | NO | 17/10/2024 | -127 | D | AVIONIC WORKSHOP |
| CTE/108 | "HANNA WATERPROOF TESTER | N/A | HI98129 | 1706302 | 1/8/2024 | 12 | M | YES | 1/8/2025 | 161 | D | AVIONIC WORKSHOP |
| CTE/111 | QUICK-SET TORQUE DRIVERS | KENNEDY | KEN5555500K | 6DS100456 | 7/10/2024 | 12 | M | YES | 7/10/2025 | 228 | D | AVIONIC WORKSHOP |
| CTE/114 | FLUKE THERMOCOUPLE THERMOMETER | FLUKE | FLUKE 51 II | 51008731MV | 16/02/2024 | 12 | M | NO | 16/2/2025 | -5 | D | AVIONIC WORKSHOP |
| CTE/115 | TORQUE WRENCH 1/4" SQDR 30-150 INLB | CEMENTEX | 30150TW14I | 721903005 | 12/04/2024 | 12 | M | YES | 12/4/2025 | 50 | D | AVIONIC WORKSHOP |
| CTE/136 | BEACON TESTER | WS TECHNOLOGIES INS. | BT200 | 10518 | 6/12/2024 | 24 | M | YES | 6/12/2026 | 653 | D | AVIONIC WORKSHOP |
| CTE/173 | VERNIER CALIPER PLASTIC | WIHA | 4113203 | N/A | 26/02/2024 | 12 | M | YES | 26/2/2025 | 5 | D | AVIONIC WORKSHOP |
| CTE/193 | GO-NO-GO GAUGE | N/A | BS1073M | N/A | 6/1/2022 | 12 | M | NO | 6/1/2023 | -777 | D | AVIONIC WORKSHOP |

|  | Tools Information |  |  |  | Inspection Date and Status, Serviceable Y = Yes, N = No. |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ID | Description | Model | Part Number | Serial Number | Carried out (date) | Interval (D-Day, M-Month, Y-Year) |  | Serviceable Status (Yes/No) | Next Due. (date) | Remaining (D-Day, M-Month, Y-Year) |  | Location |
| CTE/200 | GO-NO-GO GAUGE | N/A | BS1073M | N/A | 6/1/2022 | 12 | M | NO | 6/1/2023 | -777 | D | AVIONIC WORKSHOP |
| CTE/233 | STEEL RECTANGULAR GAUGE BLOCK SET 8PCS GRADE 0 | MITUTOYO | 516-115-10 | 2102074 | 29/11/2023 | 12 | M | NO | 29/11/2024 | -84 | D | AVIONIC WORKSHOP |
| CTE/234 | PRESSURE MODULE | N/A | PM620-22A | 11697127 | 25/2/2023 | 12 | M | NO | 25/2/2024 | -362 | D | AVIONIC WORKSHOP |
| CTE/235 | FLEXIBLE PRESSURE CALIBRATOR | GE DRUCK | DPI612 | 5637065 | 8/10/2021 | 12 | M | NO | 8/10/2022 | -867 | D | AVIONIC WORKSHOP |
| CTE/236 | GO-NO-GO GAUGE | N/A | BS1073M | N/A | 6/1/2022 | 12 | M | NO | 6/1/2023 | -777 | D | AVIONIC WORKSHOP |
| CTE/237 | GO-NO-GO GAUGE | N/A | BS1073M | N/A | 6/1/2022 | 12 | M | NO | 6/1/2023 | -777 | D | AVIONIC WORKSHOP |
| CTE/238 | GO-NO-GO GAUGE | N/A | BS1073M | N/A | 19/2/2024 | 12 | M | NO | 19/2/2025 | -2 | D | AVIONIC WORKSHOP |
| CTE/250 | CHRISTIE REFLEX CHARGER ANALYZER RF80-M | N/A | 123020-001 | 7240 | 13/02/2024 | 12 | M | NO | 13/2/2025 | -8 | D | AVIONIC WORKSHOP |
| CTE/251 | PRESSURE MODULE 0-135bar | GE DRUCK | PM620-17G | 5215977 | 25/2/2023 | 12 | M | NO | 25/2/2024 | -362 | D | AVIONIC WORKSHOP |
| CTE/252 | PRESSURE MODULE 0-350bar | GE DRUCK | PM620-20A | 11040494 | 25/2/2023 | 12 | M | NO | 25/2/2024 | -362 | D | AVIONIC WORKSHOP |
| CTE/264 | AC OUTLET ANALYSER WITH UK PLUG | RS | 776-8315 | 2146008 | 21/02/2024 | 12 | M | YES | 21/02/2025 | 0 | D | AVIONIC WORKSHOP |
| CTE/266 | DIGITAL CALIPER 5-DIGIT (0.01MM,150MM) | WIHA | 29422 | N/A | 24/03/2023 | 12 | M | NO | 24/3/2024 | -334 | D | AVIONIC WORKSHOP |

|  | Tools Information |  |  |  | Inspection Date and Status, Serviceable Y = Yes, N = No. |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ID | Description | Model | Part Number | Serial Number | Carried out (date) | Interval (D-Day, M-Month, Y-Year) |  | Serviceable Status (Yes/No) | Next Due. (date) | Remaining (D-Day, M-Month, Y-Year) |  | Location |
| CTE/270 | DIGITAL TIRE GAUGE | LOCAL VENDOR | VT800 | FLIR 01 | 23/02/2024 | 12 | M | YES | 23/2/2025 | 2 | D | AVIONIC WORKSHOP |
| CTE/271 | DIGITAL TIRE GAUGE | LOCAL VENDOR | VT800 | FLIR 02 | 23/02/2024 | 12 | M | YES | 23/2/2025 | 2 | D | AVIONIC WORKSHOP |
| CTE/274 | DC POWER SUPPLY | N/A | LW-K3010D | 210905055 | INITIAL | INITIAL | INITIAL | N/A | INITIAL | INITIAL | INITIAL | AVIONIC WORKSHOP |
| CTE/276 | TESTER : HYDROMETER 1 | AVIALL | FR1 | N/A | 24/05/2023 | 12 | M | NO | 24/05/2024 | -273 | D | AVIONIC WORKSHOP |
| CTE/277 | DIGITAL CALIPER 5-DIGIT (0.01MM,150MM) | WIHA | 29422 | N/A | 25/05/2023 | 12 | M | NO | 25/05/2024 | -272 | D | AVIONIC WORKSHOP |
| CTE/298 | DIGITAL HYDROMETER | MUSER | DH-10C | AA021282 | 01/08/2024 | 12 | M | YES | 01/08/2025 | 161 | D | AVIONIC WORKSHOP |
| CTE/304 | TORQUE CALIBRATION SYSTEM | CDI | 5000-ST | 1221079 | 22/03/2022 | 12 | M | NO | 22/3/2023 | -702 | D | AVIONIC WORKSHOP |
| CTE/305 | GAUGE BLOCK | MITUTOYO | 516-950-10 | 2105537 | 22/09/2023 | 12 | M | NO | 22/09/2024 | -152 | D | AVIONIC WORKSHOP |
| CTE/306 | GAUGE BLOCK. | MITUTOYO | 516-934-16 | 2105678 | 19/09/2023 | 12 | M | NO | 19/09/2024 | -155 | D | AVIONIC WORKSHOP |
| CTE/319 | GAUGE BLOCK | N/A | N/A | 2106536 | 21/06/2022 | 12 | M | NO | 21/6/2023 | -611 | D | AVIONIC WORKSHOP |
| CTE/320 | LONG GAUGE BLOCK | N/A | N/A | 2106536 | 16/06/2022 | 12 | M | NO | 16/6/2023 | -616 | D | AVIONIC WORKSHOP |
| CTE/322 | "FORCE GAUGE | SDL-500SDL | HP-500 | H5002206961 | 10/08/2022 | 12 | M | NO | 10/8/2023 | -561 | D | AVIONIC WORKSHOP |

|  | Tools Information |  |  |  | Inspection Date and Status, Serviceable Y = Yes, N = No. |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ID | Description | Model | Part Number | Serial Number | Carried out (date) | Interval (D-Day, M-Month, Y-Year) |  | Serviceable Status (Yes/No) | Next Due. (date) | Remaining (D-Day, M-Month, Y-Year) |  | Location |
| CTE/323 | TORQUE TRANDUCER. | SNAP ON | 2000-12-02 | 1221079-860 | 30/11/2023 | 12 | M | NO | 30/11/2024 | -398 | D | AVIONIC WORKSHOP |
| CTE/324 | MULTIPLE TORQUE TRANDUCER | SNAP ON | 2000-400-02 | 1221079-8400 | 22/03/2022 | 12 | M | NO | 22/3/2023 | -702 | D | AVIONIC WORKSHOP |
| CTE/348 | CALIPER CHECKER | PEACOCK | C1103010300 | 1337 | 7/3/2023 | 12 | M | NO | 7/3/2024 | -351 | D | AVIONIC WORKSHOP |
| CTE/349 | AC OUTLET ANALYSER WITH UK PLUG | RS COMPONENTS | 776-8315 | 2303002 | 1/2/2024 | 12 | M | NO | 1/2/2025 | -20 | D | AVIONIC WORKSHOP |
| CTE/352 | PIN GAUGE | MISUMI | PING-G10-10.00 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | D | AVIONIC WORKSHOP |
| CTE/355 | CRIMPING TOOL | JR READY | M22520/2-01 | NEW-AS2 | 30/9/2024 | 12 | M | YES | 30/9/2025 | 221 | D | AVIONIC WORKSHOP |
| CTE/356 | COAXIAL CRIMPING TOOL KIT | PRO'SKIT | 6PK-330K | N/A | INITIAL | 12 | M | N/A | INITIIAL | INITIAL | D | AVIONIC WORKSHOP |
| CTE/358 | TORQUE SCREWDRIVER | CDI | 151SP | 423400261 | 20/8/2024 | 12 | M | YES | 20/8/2025 | 180 | D | AVIONIC WORKSHOP |
| CTE/362 | INSULATED TORQUE WRENCH, 1/4" DR 30-150 IN-LBS | CEMENTEX | 30150TW141I | 23032643 | 12/6/2024 | 12 | M | YES | 12/6/2025 | 111 | D | AVIONIC WORKSHOP |
| CTE/363 | INSULATED TORQUE WRENCH, 1/4" DR 10-50 IN-LBS | CEMENTEX | 1050TW141 | 722120722 | 12/6/2024 | 12 | M | YES | 12/6/2025 | 111 | D | AVIONIC WORKSHOP |
| CTE/386 | TERMOHYDROMETER | RS PRO | 146-9089 | 2302127530 | 16/2/2024 | 12 | M | NO | 16/2/2025 | -5 | D | AVIONIC WORKSHOP |
| CTE/387 | TERMOHYDROMETER | RS PRO | 146-9089 | 230227536 | 16/2/2024 | 12 | M | NO | 16/2/2025 | -5 | D | AVIONIC WORKSHOP |

|  | Tools Information |  |  |  | Inspection Date and Status, Serviceable Y = Yes, N = No. |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ID | Description | Model | Part Number | Serial Number | Carried out (date) | Interval (D-Day, M-Month, Y-Year) |  | Serviceable Status (Yes/No) | Next Due. (date) | Remaining (D-Day, M-Month, Y-Year) |  | Location |
| CTE/388 | TERMOHYDROMETER | RS PRO | 146-9089 | 230227535 | 16/2/2024 | 12 | M | NO | 16/2/2025 | -5 | D | AVIONIC WORKSHOP |
| CTE/389 | MULTIMETER | PRO'S KIT | MT-1710 | 99857565 | 21/2/2024 | 12 | M | YES | 21/2/2025 | 0 | D | AVIONIC WORKSHOP |
| CTE/390 | TORQUE WRENCH 60-600in-lb | SNAP ON | ED2600 | 616070484 | INITIAL | INITIAL | INITIAL | N/A | INITIAL | INITIAL | INITIAL | AVIONIC WORKSHOP |
| CTE/401 | OPTICAL FLAT | MITUTOYO | 158-117 | 3408 | 27/5/2024 | 12 | M | YES | 27/5/2025 | 95 | D | AVIONICS WORKSHOP |
| CTE/402 | 6" ELECTRONIC CALIPER | PRO'S KIT | PD-151 | 23110294 | 30/9/2024 | 12 | M | YES | 30/9/2025 | 221 | D | AVIONICS WORKSHOP |
| CTE/403 | REPLACEMENT DIE SET | PRO'S KIT | CP-336DK4 | N/A | 30/9/2024 | 12 | M | YES | 30/9/2025 | 221 | D | AVIONICS WORKSHOP |
| CTE/404 | REPLACEMENT DIE SET | PRO'S KIT | 1PK-3003D36 | N/A | 30/9/2024 | 12 | M | YES | 30/9/2025 | 221 | D | AVIONICS WORKSHOP |
| CTE/405 | CRIMPING TOOLS | PRO'S KIT | 6PK-230C | N/A | 30/9/2024 | 12 | M | YES | 30/9/2025 | 221 | D | AVIONICS WORKSHOP |
| CTE/406 | CRIMPING TOOLS | PRO'S KIT | 6PK-301H | N/A | 30/9/2024 | 12 | M | YES | 30/9/2025 | 221 | D | AVIONICS WORKSHOP |
| CTE/411 | 3/8" SQ. DR. INSULATED TQ. WRENCH 50-250 IN.LBS | CEMENTEX | 2502MIMHCXA | 323111972 | 1/8/2024 | 12 | M | YES | 1/8/2025 | 161 | D | AVIONICS WORKSHOP |
| CTE/415 | DIGITAL CLAMP METER | PRO'S KIT | MT-3209 |  | 19/12/2024 | 12 | M | YES | 19/12/2025 | 301 | D | AVIONICS WORKSHOP |
| CTE/416 | DIGITAL PRESSURE GAUGE 500PSI LCD | SSI TECHNOLOGI | MG-500-A-9V-R | 2401090258 | 9/1/2025 | 12 | M | YES | 9/1/2026 | 322 | D | AVIONICS WORKSHOP |

| NAME | NURAQILAH HUDA BINTI AHMAD MUHAIMIN |
| --- | --- |
| DATE | 19 FEBRUARY 2025 |
| SIGNATURE |  |

| NAME | NUR KATRINA BINTI KAMARUDIN |
| --- | --- |
| DATE | 19 FEBRUARY 2025 |
| SIGNATURE |  |